# MicroHydroV1 — RUN‑3 Evidence Summary (Template)

1. Run identity

Run ID: YYYY‑MM‑DD_RUN3

Operator: Nathan

Location: ________

Date/time: ________

2. Configuration (link to params)

Params file: cad/params/params.json (or params_optimized.json if used)

Change note: __________________________________________

3. Test results (summary)

| Test | Metric | Requirement | Result | Pass/Fail | Evidence link |
| --- | --- | --- | --- | --- | --- |
| T‑001 | Coherence | ≥ 0.90 | ____ | ____ | tests/results/summary/T001_*.png |
| T‑002 | Ripple | ≤ 0.70×baseline | ____ | ____ | tests/results/summary/T002_*.png |
| T‑002 | Resonance peakiness | minimize | ____ | n/a | tests/results/summary/T002_PSD_Peakiness.png |
| T‑003 | ELC drift | ≤ 0.1 Hz | ____ | ____ | tests/results/summary/T003_*.png |
| T‑004 | Power | 10–12 kW | ____ | ____ | tests/results/summary/T004_*.png |

4. Resonance metric details (T‑002)

Sampling: 100 Hz

Signal: Pressure_Pa

Band: 0.2–20 Hz

Peakiness definition: max(PSD)/median(PSD)

Observed dominant peak (Hz): ____

5. Artifacts checklist

Raw CSVs saved under tests/raw/RUN3/

Optimized params saved (if applicable)

CAD exports in cad/exports/ (STEP/STL)

Workbook updated automation/MicroHydroV1_RnD_Export.xlsx

Evidence plots exported under tests/results/summary/

Release ZIP created and uploaded to Releases

6. Notes / anomalies

__________________________________________