# Volume B1 — Solar PV (Off‑Grid Engineering)

## B1. Resource & Yield Estimation

PVWatts Version 8 is NREL’s current PVWatts model/API and uses updated typical meteorological year data and upgraded module/inverter/thermal models. citeturn2search50turn2search53

### B1.1 Practical workflow

Use PVWatts for first‑pass production estimates and sensitivity (tilt/azimuth/tracking/losses). citeturn2search50

Move to SAM for more detailed scenarios (curtailment, grid interaction, battery integration). citeturn2search53

## B2. Electrical design essentials

Cold‑weather Voc margining

Conductor sizing and protection

Grounding/bonding and labeling per applicable code

NEC Article 690 exists to address electrical hazards from PV installation and operation, applying NEC safety principles to PV systems. citeturn2search80

## B3. Integration with batteries

DOE describes that stand‑alone PV systems typically require batteries and charge control, plus power conditioning equipment and safety equipment. citeturn1search31