# Volume B4 — Bioenergy / Biogas (Anaerobic Digestion)

FAO describes anaerobic digestion as biological breakdown in the absence of oxygen producing methane and CO₂ and a stabilized residue, enabling waste handling and renewable energy production. citeturn1search42

ATTRA’s micro‑scale biogas guide introduces digester designs, operation, and using biogas for heat or power on small scales. citeturn1search45

## Engineering highlights

Feedstock characterization (TS/VS, C:N ratio, contaminants)

Temperature regime (psychrophilic/mesophilic/thermophilic)

Gas handling & safety (H₂S, moisture, flashback)

Engine‑generator derating and maintenance planning