# Volume C — Storage & Power Electronics

## C1. Battery safety and installation context

UL Solutions notes that NFPA 855 (2023) and the 2024 International Fire Code reference UL 9540A testing in certain situations, and that standards/codes evolve for ESS fire/explosion hazards. citeturn2search61

ACP’s overview highlights NFPA 855’s focus on explosion control, fire suppression strategy, and AHJ oversight through commissioning/decommissioning. citeturn2search59

## C2. Inverters & interconnection

NREL summarizes the role of standards (IEEE 1547 family, UL 1741 context) for interconnection and interoperability on modern grids. citeturn1search11

## C3. Design checklists

See **08_Tools_Templates** for worksheets.