# Volume D — Microgrids & Controls

NREL’s conceptual design guide for resilient microgrids presents processes for requirements definition and lessons learned from defense projects. citeturn2search68

NREL’s Microgrid Controls page describes the need for control strategies across time scales, including maintaining real/reactive balance in islanded operation and managing connect/disconnect behavior. citeturn2search72

## D1. Control layers (practical)

Primary (fast): voltage/frequency stability

Secondary: setpoints, power sharing, SOC control

Tertiary: economic dispatch, fuel optimization, forecasting